## Worksheet 1
Instrument | Model | Analytes | Depth | Points per
|  |  | resolution | millimetre
ICP-MS | Agilent 7700x | 23Na, 24Mg, 27Al, 43Ca, 44Ca | 3.8–4.7 cm | 2.9
FIC cation | Dionex ICS-3000 | Na+,Ca2+, Mg2+, NH4+, K+ | >4 cm | –
FIC anion | Dionex ICS-6000 | NO3-, F−, MSA, Cl−, SO42- | >4 cm | –
Fluorescence | FIALab precision measurement | Ca2+, NH4+, H2O2 | 1.4 cm | 1.7
technologies photomultiplier tube
fluorometers (PMT-FL)
Particle counter | Abakus (Klotz) | Dust content (particles) |  | 1.7
Conductivity | Amber Science, Inc. 3082 series | Liquid conductivity |  | 1.7
Conductivity | Dionex conductivity detector (CDM-1) | Liquid conductivity |  | 1.7
Water isotopes | Picarro L2130-i CRDS | 18O, D | 5–10 cm | 1.6
Methane | Picarro G2301 CRDS | CH4 | >10 cm | 1.6